# FORM- 3 : Work completion and Inspection Report

# TP CENTRAL ODISHA DISTRIBUTION LIMIT

Certified that I Designated officer,                   Division, TPCODL along MRT have personally inspected the 3.0 Kwp SRTPV system At/Po-Kankadajodi, Dist-Cuttack, 754035 the details of SRTPV system and inspection report are as below:

| Work Completion and Inspection Report for 3.0 KWp Solar Roof Top PV System(SRTPV At/Po-Kankadajodi, Dist-Cuttack, 754035 |  |  |  |
| --- | --- | --- | --- |
| Sl. No. | Parameter |  | Utility Observation |
| A | Applicant Details |  |  |
| 1 | Name of the Applicant | Mr. BASANTA KUMAR SAHU |  |
| 2 | Application No./Registration No. with Date | NP-ODTCO26-13685899 / 10-07-2026 |  |
| 2 | Address | At/Po-Kankadajodi, Dist-Cuttack, 754035 |  |
| 3 | Consumer Number | 80044799825 |  |
| 4 | Consumer Category | DOMESTIC |  |
| 5 | Type of Connection: 1ph LT or 3 ph LT/HT | 1ph LT |  |
| 6 | contract demand of consumer | 3 KW |  |
| 7 | Arrear, if any | 0 |  |
| 8 | Name of Developer/Vendor | Shri Trutiyadev Solar Enterprises |  |
| 9 | Date of Installation | 19 October 2026 |  |
| B | Distribution Transformer Details |  |  |
| 1 | Capacity in KVA |  |  |
| 2 | Location |  |  |
| 3 | Total Capacity of rooftop solar photovoltaic systems already connected to the Distribution Transformer in kWp (individual capacity may be mentioned) |  |  |
| 4 | Whether the transformer capacity is adequate to deliver the proposed Solar rooftop PV system in addition to existing SRTPV systems |  | Yes |
| C | Solar Rooftop PV Power Plant Details |  |  |
| 1 | Details of proposed power plant - Capacity of the SPV Power Plant (kWp) - Plant proposed at single site/multiple sites - Interconnection with the electricity network at single point or multiple point |  | 3.0 KW SINGLE SITE SINGLE POINT |

| 2 | Whether the Single Line Diagram of the SRTPV System (Submitted by the consumer indicating all the Safety aspects of Grid Connectivity) is OK for grid Connectivity | YES/NO (if it is no, state reasons for the same and suggest alternate arrangements) |
| --- | --- | --- |
| D | Grid Tied Inverter |  |
| 1 | Make | V-GUARD |
| 2 | Serial No. | 3TVS3020649A068 |
| 3 | Capacity | 3KW |
| 4 | Input Voltage/ Output Voltage | 550 V DC/220-240V AC |
| 5 | Whether Anti-islanding feature is in working condition | YES/NO (Need to be checked practically before charging) |

| E | P.V Module |  |  |
| --- | --- | --- | --- |
| 1 | Make | ADANI |  |
| 2 | Serial No. | AS2609251A4481 AS2609251A4477 AS2609261A0052 AS2609251A4462 AS2609251A4527 |  |
| 3 | Type of Module | TOPCON |  |
| 4 | Capacity of each Module | 620WP |  |
| 5 | No. of Module | 5NOS. |  |
| 6 | Total capacity of PV array | 3.100KW |  |
| F | Earthing Verification (i)D.C Earthing (ii)A.C Earthing | - 1.7 in Ohm - 2.3 in Ohm Within permissible limit or Not (Values should be certified by TPCODL official) |  |
| G | Details of protective system available | - AC & DC DB: Yes/No Manual Switch at Solar Side: Yes/No - lightening arrestor: Yes/No - SPDs: Yes/No - Relay operated automatic switch at net- meter side: Yes/ No |  |
| H | Details of protection system provided to prevent back feeding from DG/ Battery/Inverter any other |  |  |
| I | EIC inspection and approval letter Submitted by the consumer above 50KVA | Yes/ No |  |
| J | Safety certificate from designated Safety officer of TPCODL below 50KVA | Yes/No |  |
| K | Actual Single line wiring diagram of the SPV System. | Yes/ No |  |
| L | Test report of all component of SRTPV system (including inverter) is as per CEA/OERC regulation and IS/ BIS standards | Yes/NO |  |
| M | Meter Details | Net Meter (Bi-directional Meter) | Solar Generation Meter (Details of all Solar meters) |
| 1 | Total Nos. of Meters |  |  |
| 2 | Meter Make |  |  |
| 3 | Meter Sl. No. |  |  |
| 4 | 1 Ph/ 3Ph |  |  |

| 5 | Capacity |  |  |
| --- | --- | --- | --- |
| 6 | Meter Constant |  |  |
| N | Any other necessary details with Remarks |  |  |
| Inspection Report |  |  |  |
| Whether this installed SRTPV system is satisfactory for grid connectivity/ Synchronization |  | Yes/No (if it is not satisfactory, state reasons for the same and suggest alternate arrangements required to evacuate power from the SRTPV system) |  |

# Provision of manual and automatic switches: Yes / No

Whether Operation and Maintenance information:

# Such as Do’s and Don’ts are provided by the System Installer: Yes*/ No*.

Signature of the Applicant                                        Name and Signature of the System Name and Address		Installer with Seal

Name of the firm and address:

Shri Trutiyadev Solar Enterprises

AT-TALAMUNDALI, PO-KANKADAJODI

DIST-CUTTACK,PIN-754035

Odisha

Name:

Date:		Date:

# Certified by

Designated officer TPCODL

# Date:

Enclosures:

- Copy of the IEC/IS Test reports/ certificate of PV modules, Inverter, Cable etc.

- Data sheets/Drawing for the array mounting System.

- Actual Single line wiring diagram of the SPV System.

- Copy of Maintenance & Operation information provided by the System Installer.